## Slide 1
Modelica Training Workshop 4
Wangda Zuo, Michael Wetter
Simulation Research Group
Energy and Environmental Technologies Division
Lawrence Berkeley National Laboratory, USA
5/16/2012

## Slide 2: Outline
Part 1: Equations, Algorithms and Functions
Part 2: Best Practice
2.1 Organization of packages (discussed in Workshop 3)
2.2 Build Large System Models
2.3 Propagating Parameters and Media Packages
Workshop Website:
https://simulationresearch.lbl.gov/modelica/WorkShops/2012-05-07-lbnl
Join the Google Group
https://groups.google.com/group/modelica-buildings

## Slide 3: Exercise 1
Calculate the following equation system using equation
  x = y
  x’ = 1

## Slide 4: Exercise 1
Calculate the following equation system using equation
  x = y
  x’ = 1
  x(0) = 1

## Slide 5: Exercise 1
Calculate the following equation system using equation
  x = y
  x’ = 1
  x(0) = 1
  y = 2
Error: model is not well-posted.

## Slide 6: Exercise 1
Calculate the following equation system using equation
  x = y
  x’ = 1
  x(0) = 1
  y’(0) = 2
Error: Initial equations over-specified!

## Slide 7: Exercise 2
Calculate the following equation system using algorithm
  x = y
  x’ = 1
Equation
Algorithm

## Slide 8: Exercise 2
Calculate the following equation system using equation
  x = y
  x’ = 1
  x(0) = 1
Algorithm
Equation

## Slide 9: Exercise 3
Calculate the following equation system using model with functions
  x’ = 1
  y = f(x)
  f(x) = x
  x(0) = 1

## Slide 10
Part 2: Buildings Library
2. Best Practice (Continued)
2.2 Build Large System Models
2.3 Propagating Parameters and Media Packages

## Slide 11: 2.2 Build Large System Models
How to solve not well-posted or over-specified problem when building a large complex system
Split the large system into small independent components
Test the small component with well controlled conditions.
Example:
Buildings.Examples.ChillerPlant.BaseClasses.Controls.Examples
KMinusU
Calculated with equations
RequestCounter
Uses algorithm
Commands->Simulate and plot

## Slide 12: 2.3 Propagating Parameters and Media Packages
Bad Practice
Good Practice
Always define the value of common parameter at the top level of the model

## Slide 13: 2.3 Propagating Parameters and Media Packages
Always define the value of common media package at the top level of the model
Sensor Model
Top System Model
Sub-system Model that uses Sensor model

## Slide 14: 2.3 Propagating Parameters and Media Packages
Chiller plant with water-size economizer
Common parameters:
Nominal flow rate for air loop, chilled water loop and condenser water loop
Common media packages:
Air, Chilled water, Condenser water

## Slide 15: 2.3 Propagating Parameters and Media Packages
Nominal Flow Conditions:
air loop: mAir_flow_nominal
chilled water loop: mCHW_flow_nominal
condenser water loop: mCW_flow_nominal
Common media packages:
Air: MediumAir
Chilled water: MediumCHW
Condenser water: MediumCW
Find where these parameters and Medium packages are used:

## Slide 16: 2.3 Propagating Parameters and Media Packages
1. System model
m1_flow_nominal=mCW_flow_nominal,
2. Buildings.Fluid.HeatExchangers.ConstantEffectiveness
m1_flow_nominal
3. Buildings.Fluid.HeatExchangers.BaseClasses.PartialEffectiveness
m1_flow_nominal
4. Buildings.Fluid.Interfaces.StaticFourPortHeatMassExchanger
5. Buildings.Fluid.Interfaces.PartialFourPortInterface
Find the path of propagating (e.g. Heat Exchanger):